## Irradiance
Wavelength | 400 nm | 442.5 nm | 490 nm | 560 nm | 665 nm | 778.8 nm | 865 nm
Irradiance [mW m-2 nm-1] | 4.541 | 8.5416 | 14.437 | 24.884 | 40.084 | 51.27 | 55.424
Uncertainty, k=2 [%]
| Wavelength | 400 nm | 442.5 nm | 490 nm | 560 nm | 665 nm | 778.8 nm | 865 nm
Radiometer | Radiometric calibration
Calibration instability
Alignment and polarisation
Temperature
Linearity
Stray light
Repeatability
Source | Instability
Distance
Uniformity
Alignment
Stray light in lab
Combined
Expanded, k=2

## low radiance_222
Wavelength | 400 nm | 442.5 nm | 490 nm | 560 nm | 665 nm | 778.8 nm | 865 nm
Radiance (low intensity) [mW m-2 nm-1 sr-1] | 1 | 1 | 1 | 1 | 1 | 1 | 1
Uncertainty, k=2 [%]
| Wavelength | 400 nm | 442.5 nm | 490 nm | 560 nm | 665 nm | 778.8 nm | 865 nm
Radiometer | Radiometric calibration
Calibration instability
Alignment and back-reflection
Temperature
Linearity
Stray light
Repeatability
Source | Instability
Uniformity
Stray light in lab
Combined (low intensity)
Expanded, k=2 (low intensity)