## Sheet1
ipmi-sensors | [5 empty] | ipmitool sdr
ID | Name | Type | Reading | Units | Event
7 | CPUs | Critical Interrupt | N/A | N/A | 'OK' | CPUs | 0x00 | ok
8 | All CPUs | Processor | N/A | N/A | 'OK' | All CPUs | 0x00 | ok
9 | One of CPUs | Processor | N/A | N/A | 'OK' | One of CPUs | 0x00 | ok
10 | CPU 1 Status | Processor | N/A | N/A | 'Processor Presence detected' | CPU 1 Status | 0x80 | ok
11 | CPU 2 Status | Processor | N/A | N/A | 'Processor Presence detected' | CPU 2 Status | 0x80 | ok
12 | RoT Mismatch | Add In Card | N/A | N/A | 'OK' | RoT Mismatch | 0x00 | ok
13 | Sys Boot Status | System Firmware Progress | N/A | N/A | 'OK' | Sys Boot Status | 0x00 | ok
14 | Host Power | Power Unit | N/A | N/A | 'OK' | Host Power | 0x00 | ok
15 | IPMI Watchdog | Watchdog 2 | N/A | N/A | 'OK' | IPMI Watchdog | 0x00 | ok
16 | SEL Fullness | Event Logging Disabled | N/A | N/A | 'OK' | SEL Fullness | 0x00 | ok
17 | All DIMMs | Memory | N/A | N/A | 'OK' | All DIMMs | 0x00 | ok
18 | DIMMs | Critical Interrupt | N/A | N/A | 'OK' | DIMMs | 0x00 | ok
19 | One of DIMMs | Memory | N/A | N/A | 'OK' | One of DIMMs | 0x00 | ok
20 | Backup Memory | Memory | N/A | N/A | 'OK' | Backup Memory | 0x00 | ok
21 | Lane Failover | Memory | N/A | N/A | 'OK' | Lane Failover | 0x00 | ok
22 | Memory Resized | POST Memory Resize | N/A | N/A | 'OK' | Memory Resized | 0x00 | ok
23 | Non-Auth DIMMs | Memory | N/A | N/A | 'OK' | Non-Auth DIMMs | 0x00 | ok
24 | SMI Lane Failed | Memory | N/A | N/A | 'OK' | SMI Lane Failed | 0x00 | ok
25 | NMI State | Critical Interrupt | N/A | N/A | 'OK' | NMI State | 0x00 | ok
26 | SysCfg Mismatch | Platform Security Violation Attempt | N/A | N/A | 'OK' | SysCfg Mismatch | 0x00 | ok
27 | PCIs | Critical Interrupt | N/A | N/A | 'OK' | PCIs | 0x00 | ok
28 | All PCI Error | Slot/Connector | N/A | N/A | 'OK' | All PCI Error | 0x00 | ok
29 | One of PCIs | Slot/Connector | N/A | N/A | 'OK' | One of PCIs | 0x00 | ok
30 | No I/O Resources | System Firmware Progress | N/A | N/A | 'OK' | No I/O Resources | 0x00 | ok
31 | Aux Log | System Event | N/A | N/A | 'OK' | Aux Log | 0x00 | ok
32 | Firmware Error | System Firmware Progress | N/A | N/A | 'OK' | Firmware Error | 0x00 | ok
33 | GPT Status | System Firmware Progress | N/A | N/A | 'OK' | GPT Status | 0x00 | ok
34 | No Boot Device | Boot Error | N/A | N/A | 'OK' | No Boot Device | 0x00 | ok
35 | No Op ROM Space | Slot/Connector | N/A | N/A | 'OK' | No Op ROM Space | 0x00 | ok
36 | Progress | System Firmware Progress | N/A | N/A | N/A | Progress | Not Readable | ns
37 | UEFI Auth Fail | System Firmware Progress | N/A | N/A | 'transition to OK' | UEFI Auth Fail | 0x01 | ok
38 | Sec Rollback Err | System Firmware Progress | N/A | N/A | 'OK' | Sec Rollback Err | 0x00 | ok
39 | Secure Boot Err | System Firmware Progress | N/A | N/A | 'OK' | Secure Boot Err | 0x00 | ok
40 | TPM_TCM Init Err | System Firmware Progress | N/A | N/A | 'OK' | TPM_TCM Init Err | 0x00 | ok
41 | TPM_TCM Lock | Button/Switch | N/A | N/A | 'OK' | TPM_TCM Lock | 0x00 | ok
42 | TXT ACM Module | System Firmware Progress | N/A | N/A | 'OK' | TXT ACM Module | 0x00 | ok
43 | 3 Strike Timeout | System Boot Initiated | N/A | N/A | 'OK' | 3 Strike Timeout | 0x00 | ok
44 | Drive Key Fault | System Firmware Progress | N/A | N/A | 'OK' | Drive Key Fault | 0x00 | ok
45 | XCC Switchover | Version Change | N/A | N/A | 'OK' | XCC Switchover | 0x00 | ok
46 | XCC FW Corrupted | System Firmware Progress | N/A | N/A | 'OK' | XCC FW Corrupted | 0x00 | ok
47 | Low Security Jmp | Management Subsystem Health | N/A | N/A | 'Device Removed/Device Absent' | Low Security Jmp | 0x01 | ok
48 | XCC DB Status | Management Subsystem Health | N/A | N/A | 'OK' | XCC DB Status | 0x00 | ok
49 | SMM Mode | System Event | N/A | N/A | 'OK' | SMM Mode | 0x00 | ok
50 | SMM Monitor | System Event | N/A | N/A | 'OK' | SMM Monitor | 0x00 | ok
51 | DIMMs Disabled | Memory | N/A | N/A | 'OK' | DIMMs Disabled | 0x00 | ok
52 | SMI Timeout | System Event | N/A | N/A | 'OK' | SMI Timeout | 0x00 | ok
56 | CPU feat. Diff | Processor | N/A | N/A | 'OK' | CPU feat. Diff | 0x00 | ok
57 | CPU 1 UPILinkErr | Cable/Interconnect | N/A | N/A | 'OK' | CPU 1 UPILinkErr | 0x00 | ok
58 | CPU 2 UPILinkErr | Cable/Interconnect | N/A | N/A | 'OK' | CPU 2 UPILinkErr | 0x00 | ok
59 | RAID Log | System Event | N/A | N/A | 'OK' | RAID Log | 0x00 | ok
107 | Chassis | Physical Security | N/A | N/A | N/A | Chassis | Not Readable | ns
108 | RoT Attestation | Add In Card | N/A | N/A | 'OK' | RoT Attestation | 0x00 | ok
109 | NCSI Link State | LAN | N/A | N/A | 'OK' | NCSI Link State | 0x00 | ok
110 | Ambient Temp | Temperature | N/A | C | N/A | Ambient Temp | 17 degrees C | ok
111 | Exhaust Temp | Temperature | N/A | C | N/A | Exhaust Temp | 26 degrees C | ok
112 | System Air Flow | Cooling Device | N/A | CFM | N/A | System Air Flow | 27 CFM | ok
113 | CPU 1 Temp | Temperature | N/A | C | N/A | CPU 1 Temp | 24 degrees C | ok
114 | CPU 1 DTS | Temperature | N/A | unspecified | N/A | CPU 1 DTS | -51 unspecified | ok
115 | CPU 2 Temp | Temperature | N/A | C | N/A | CPU 2 Temp | 21 degrees C | ok
116 | CPU 2 DTS | Temperature | N/A | unspecified | N/A | CPU 2 DTS | -51 unspecified | ok
117 | DIMM 1 | Memory | N/A | N/A | 'OK' | DIMM 1 | 0x00 | ok
119 | DIMM 1 Temp | Temperature | N/A | C | N/A | DIMM 1 Temp | no reading | ns
120 | DIMM 2 | Memory | N/A | N/A | 'OK' | DIMM 2 | 0x00 | ok
122 | DIMM 2 Temp | Temperature | N/A | C | N/A | DIMM 2 Temp | no reading | ns
123 | DIMM 3 | Memory | N/A | N/A | 'Presence detected' | DIMM 3 | 0x40 | ok
125 | DIMM 3 Temp | Temperature | N/A | C | N/A | DIMM 3 Temp | 19 degrees C | ok
126 | DIMM 4 | Memory | N/A | N/A | 'OK' | DIMM 4 | 0x00 | ok
128 | DIMM 4 Temp | Temperature | N/A | C | N/A | DIMM 4 Temp | no reading | ns
129 | DIMM 5 | Memory | N/A | N/A | 'OK' | DIMM 5 | 0x00 | ok
131 | DIMM 5 Temp | Temperature | N/A | C | N/A | DIMM 5 Temp | no reading | ns
132 | DIMM 6 | Memory | N/A | N/A | 'OK' | DIMM 6 | 0x00 | ok
134 | DIMM 6 Temp | Temperature | N/A | C | N/A | DIMM 6 Temp | no reading | ns
135 | DIMM 7 | Memory | N/A | N/A | 'Presence detected' | DIMM 7 | 0x40 | ok
137 | DIMM 7 Temp | Temperature | N/A | C | N/A | DIMM 7 Temp | 20 degrees C | ok
138 | DIMM 8 | Memory | N/A | N/A | 'OK' | DIMM 8 | 0x00 | ok
140 | DIMM 8 Temp | Temperature | N/A | C | N/A | DIMM 8 Temp | no reading | ns
141 | DIMM 9 | Memory | N/A | N/A | 'OK' | DIMM 9 | 0x00 | ok
143 | DIMM 9 Temp | Temperature | N/A | C | N/A | DIMM 9 Temp | no reading | ns
144 | DIMM 10 | Memory | N/A | N/A | 'Presence detected' | DIMM 10 | 0x40 | ok
146 | DIMM 10 Temp | Temperature | N/A | C | N/A | DIMM 10 Temp | 20 degrees C | ok
147 | DIMM 11 | Memory | N/A | N/A | 'OK' | DIMM 11 | 0x00 | ok
149 | DIMM 11 Temp | Temperature | N/A | C | N/A | DIMM 11 Temp | no reading | ns
150 | DIMM 12 | Memory | N/A | N/A | 'OK' | DIMM 12 | 0x00 | ok
152 | DIMM 12 Temp | Temperature | N/A | C | N/A | DIMM 12 Temp | no reading | ns
153 | DIMM 13 | Memory | N/A | N/A | 'OK' | DIMM 13 | 0x00 | ok
155 | DIMM 13 Temp | Temperature | N/A | C | N/A | DIMM 13 Temp | no reading | ns
156 | DIMM 14 | Memory | N/A | N/A | 'Presence detected' | DIMM 14 | 0x40 | ok
158 | DIMM 14 Temp | Temperature | N/A | C | N/A | DIMM 14 Temp | 20 degrees C | ok
159 | DIMM 15 | Memory | N/A | N/A | 'OK' | DIMM 15 | 0x00 | ok
161 | DIMM 15 Temp | Temperature | N/A | C | N/A | DIMM 15 Temp | no reading | ns
162 | DIMM 16 | Memory | N/A | N/A | 'OK' | DIMM 16 | 0x00 | ok
165 | DIMM 16 Temp | Temperature | N/A | C | N/A | DIMM 16 Temp | no reading | ns
166 | DIMM 17 | Memory | N/A | N/A | 'OK' | DIMM 17 | 0x00 | ok
168 | DIMM 17 Temp | Temperature | N/A | C | N/A | DIMM 17 Temp | no reading | ns
169 | DIMM 18 | Memory | N/A | N/A | 'OK' | DIMM 18 | 0x00 | ok
173 | DIMM 18 Temp | Temperature | N/A | C | N/A | DIMM 18 Temp | no reading | ns
174 | DIMM 19 | Memory | N/A | N/A | 'Presence detected' | DIMM 19 | 0x40 | ok
176 | DIMM 19 Temp | Temperature | N/A | C | N/A | DIMM 19 Temp | 19 degrees C | ok
177 | DIMM 20 | Memory | N/A | N/A | 'OK' | DIMM 20 | 0x00 | ok
179 | DIMM 20 Temp | Temperature | N/A | C | N/A | DIMM 20 Temp | no reading | ns
180 | DIMM 21 | Memory | N/A | N/A | 'OK' | DIMM 21 | 0x00 | ok
182 | DIMM 21 Temp | Temperature | N/A | C | N/A | DIMM 21 Temp | no reading | ns
183 | DIMM 22 | Memory | N/A | N/A | 'OK' | DIMM 22 | 0x00 | ok
185 | DIMM 22 Temp | Temperature | N/A | C | N/A | DIMM 22 Temp | no reading | ns
186 | DIMM 23 | Memory | N/A | N/A | 'Presence detected' | DIMM 23 | 0x40 | ok
188 | DIMM 23 Temp | Temperature | N/A | C | N/A | DIMM 23 Temp | 19 degrees C | ok
189 | DIMM 24 | Memory | N/A | N/A | 'OK' | DIMM 24 | 0x00 | ok
191 | DIMM 24 Temp | Temperature | N/A | C | N/A | DIMM 24 Temp | no reading | ns
192 | DIMM 25 | Memory | N/A | N/A | 'OK' | DIMM 25 | 0x00 | ok
194 | DIMM 25 Temp | Temperature | N/A | C | N/A | DIMM 25 Temp | no reading | ns
195 | DIMM 26 | Memory | N/A | N/A | 'Presence detected' | DIMM 26 | 0x40 | ok
197 | DIMM 26 Temp | Temperature | N/A | C | N/A | DIMM 26 Temp | 19 degrees C | ok
198 | DIMM 27 | Memory | N/A | N/A | 'OK' | DIMM 27 | 0x00 | ok
200 | DIMM 27 Temp | Temperature | N/A | C | N/A | DIMM 27 Temp | no reading | ns
201 | DIMM 28 | Memory | N/A | N/A | 'OK' | DIMM 28 | 0x00 | ok
203 | DIMM 28 Temp | Temperature | N/A | C | N/A | DIMM 28 Temp | no reading | ns
204 | DIMM 29 | Memory | N/A | N/A | 'OK' | DIMM 29 | 0x00 | ok
206 | DIMM 29 Temp | Temperature | N/A | C | N/A | DIMM 29 Temp | no reading | ns
207 | DIMM 30 | Memory | N/A | N/A | 'Presence detected' | DIMM 30 | 0x40 | ok
209 | DIMM 30 Temp | Temperature | N/A | C | N/A | DIMM 30 Temp | 19 degrees C | ok
210 | DIMM 31 | Memory | N/A | N/A | 'OK' | DIMM 31 | 0x00 | ok
212 | DIMM 31 Temp | Temperature | N/A | C | N/A | DIMM 31 Temp | no reading | ns
213 | DIMM 32 | Memory | N/A | N/A | 'OK' | DIMM 32 | 0x00 | ok
215 | DIMM 32 Temp | Temperature | N/A | C | N/A | DIMM 32 Temp | no reading | ns
216 | DIMM 1 PMIC | Voltage | N/A | N/A | N/A | DIMM 1 PMIC | 0x01 | ok
217 | DIMM 2 PMIC | Voltage | N/A | N/A | N/A | DIMM 2 PMIC | 0x01 | ok
220 | DIMM 3 PMIC | Voltage | N/A | N/A | N/A | DIMM 3 PMIC | 0x01 | ok
221 | DIMM 4 PMIC | Voltage | N/A | N/A | N/A | DIMM 4 PMIC | 0x01 | ok
222 | DIMM 5 PMIC | Voltage | N/A | N/A | N/A | DIMM 5 PMIC | 0x01 | ok
223 | DIMM 6 PMIC | Voltage | N/A | N/A | N/A | DIMM 6 PMIC | 0x01 | ok
224 | DIMM 7 PMIC | Voltage | N/A | N/A | N/A | DIMM 7 PMIC | 0x01 | ok
225 | DIMM 8 PMIC | Voltage | N/A | N/A | N/A | DIMM 8 PMIC | 0x01 | ok
226 | DIMM 9 PMIC | Voltage | N/A | N/A | N/A | DIMM 9 PMIC | 0x01 | ok
227 | DIMM 10 PMIC | Voltage | N/A | N/A | N/A | DIMM 10 PMIC | 0x01 | ok
228 | DIMM 11 PMIC | Voltage | N/A | N/A | N/A | DIMM 11 PMIC | 0x01 | ok
229 | DIMM 12 PMIC | Voltage | N/A | N/A | N/A | DIMM 12 PMIC | 0x01 | ok
230 | DIMM 13 PMIC | Voltage | N/A | N/A | N/A | DIMM 13 PMIC | 0x01 | ok
231 | DIMM 14 PMIC | Voltage | N/A | N/A | N/A | DIMM 14 PMIC | 0x01 | ok
232 | DIMM 15 PMIC | Voltage | N/A | N/A | N/A | DIMM 15 PMIC | 0x01 | ok
233 | DIMM 16 PMIC | Voltage | N/A | N/A | N/A | DIMM 16 PMIC | 0x01 | ok
234 | DIMM 17 PMIC | Voltage | N/A | N/A | N/A | DIMM 17 PMIC | 0x01 | ok
235 | DIMM 18 PMIC | Voltage | N/A | N/A | N/A | DIMM 18 PMIC | 0x01 | ok
236 | DIMM 19 PMIC | Voltage | N/A | N/A | N/A | DIMM 19 PMIC | 0x01 | ok
237 | DIMM 20 PMIC | Voltage | N/A | N/A | N/A | DIMM 20 PMIC | 0x01 | ok
238 | DIMM 21 PMIC | Voltage | N/A | N/A | N/A | DIMM 21 PMIC | 0x01 | ok
239 | DIMM 22 PMIC | Voltage | N/A | N/A | N/A | DIMM 22 PMIC | 0x01 | ok
240 | DIMM 23 PMIC | Voltage | N/A | N/A | N/A | DIMM 23 PMIC | 0x01 | ok
241 | DIMM 24 PMIC | Voltage | N/A | N/A | N/A | DIMM 24 PMIC | 0x01 | ok
242 | DIMM 25 PMIC | Voltage | N/A | N/A | N/A | DIMM 25 PMIC | 0x01 | ok
243 | DIMM 26 PMIC | Voltage | N/A | N/A | N/A | DIMM 26 PMIC | 0x01 | ok
244 | DIMM 27 PMIC | Voltage | N/A | N/A | N/A | DIMM 27 PMIC | 0x01 | ok
245 | DIMM 28 PMIC | Voltage | N/A | N/A | N/A | DIMM 28 PMIC | 0x01 | ok
246 | DIMM 29 PMIC | Voltage | N/A | N/A | N/A | DIMM 29 PMIC | 0x01 | ok
247 | DIMM 30 PMIC | Voltage | N/A | N/A | N/A | DIMM 30 PMIC | 0x01 | ok
248 | DIMM 31 PMIC | Voltage | N/A | N/A | N/A | DIMM 31 PMIC | 0x01 | ok
249 | DIMM 32 PMIC | Voltage | N/A | N/A | N/A | DIMM 32 PMIC | 0x01 | ok
250 | CMOS Battery | Voltage | 3 | V | 'OK' | CMOS Battery | 3.00 Volts | ok
251 | SysBrd 12V | Voltage | N/A | V | N/A | SysBrd 12V | 12.10 Volts | ok
252 | SysBrd 5V | Voltage | N/A | V | N/A | SysBrd 5V | 4.98 Volts | ok
253 | SysBrd 3.3V | Voltage | N/A | V | N/A | SysBrd 3.3V | 3.29 Volts | ok
254 | SysBrd Vol Fault | Voltage | N/A | N/A | 'transition to OK' | SysBrd Vol Fault | 0x01 | ok
255 | DIMM PMIC NO VR | Voltage | N/A | N/A | N/A | DIMM PMIC NO VR | 0x00 | ok
256 | PSU PG | Voltage | N/A | N/A | N/A | PSU PG | 0x01 | ok
257 | P1V05 AUX PG | Voltage | N/A | N/A | N/A | P1V05 AUX PG | 0x01 | ok
258 | PVNN PCH AUX PG | Voltage | N/A | N/A | N/A | PVNN PCH AUX PG | 0x01 | ok
259 | P12V A PG | Voltage | N/A | N/A | N/A | P12V A PG | 0x01 | ok
260 | P12V B PG | Voltage | N/A | N/A | N/A | P12V B PG | 0x01 | ok
261 | P12V C PG | Voltage | N/A | N/A | N/A | P12V C PG | 0x01 | ok
262 | P5V BUF PG | Voltage | N/A | N/A | N/A | P5V BUF PG | 0x01 | ok
263 | P3V3 BUF PG | Voltage | N/A | N/A | N/A | P3V3 BUF PG | 0x01 | ok
264 | NIC OCP PG | Voltage | N/A | N/A | N/A | NIC OCP PG | 0x01 | ok
265 | CPU 1 PVCCD HV | Voltage | N/A | N/A | N/A | CPU 1 PVCCD HV | 0x01 | ok
266 | CPU 2 PVCCD HV | Voltage | N/A | N/A | N/A | CPU 2 PVCCD HV | 0x01 | ok
267 | CPU 1 PVCCFA 1 | Voltage | N/A | N/A | N/A | CPU 1 PVCCFA 1 | 0x01 | ok
268 | CPU 2 PVCCFA 1 | Voltage | N/A | N/A | N/A | CPU 2 PVCCFA 1 | 0x01 | ok
269 | CPU 1 PVCCFA 2 | Voltage | N/A | N/A | N/A | CPU 1 PVCCFA 2 | 0x01 | ok
270 | CPU 2 PVCCFA 2 | Voltage | N/A | N/A | N/A | CPU 2 PVCCFA 2 | 0x01 | ok
271 | CPU 1 PVCCINFAON | Voltage | N/A | N/A | N/A | CPU 1 PVCCINFAON | 0x01 | ok
272 | CPU 2 PVCCINFAON | Voltage | N/A | N/A | N/A | CPU 2 PVCCINFAON | 0x01 | ok
273 | CPU 1 PVNN MAIN | Voltage | N/A | N/A | N/A | CPU 1 PVNN MAIN | 0x01 | ok
274 | CPU 2 PVNN MAIN | Voltage | N/A | N/A | N/A | CPU 2 PVNN MAIN | 0x01 | ok
275 | CPU 1 PVCCIN | Voltage | N/A | N/A | N/A | CPU 1 PVCCIN | 0x01 | ok
276 | CPU 2 PVCCIN | Voltage | N/A | N/A | N/A | CPU 2 PVCCIN | 0x01 | ok
277 | CPU 1 PVPP HBM | Voltage | N/A | N/A | N/A | CPU 1 PVPP HBM | 0x01 | ok
278 | CPU 2 PVPP HBM | Voltage | N/A | N/A | N/A | CPU 2 PVPP HBM | 0x01 | ok
279 | DIMM 5-8 PMICs | Voltage | N/A | N/A | N/A | DIMM 5-8 PMICs | 0x01 | ok
280 | DIMM 1-4 PMICs | Voltage | N/A | N/A | N/A | DIMM 1-4 PMICs | 0x01 | ok
281 | DIMM 9-12 PMICs | Voltage | N/A | N/A | N/A | DIMM 9-12 PMICs | 0x01 | ok
282 | DIMM 13-16 PMICs | Voltage | N/A | N/A | N/A | DIMM 13-16 PMICs | 0x01 | ok
283 | DIMM 21-24 PMICs | Voltage | N/A | N/A | N/A | DIMM 21-24 PMICs | 0x01 | ok
284 | DIMM 17-20 PMICs | Voltage | N/A | N/A | N/A | DIMM 17-20 PMICs | 0x01 | ok
285 | DIMM 25-28 PMICs | Voltage | N/A | N/A | N/A | DIMM 25-28 PMICs | 0x01 | ok
286 | DIMM 29-32 PMICs | Voltage | N/A | N/A | N/A | DIMM 29-32 PMICs | 0x01 | ok
287 | Fan Mismatch | Fan | N/A | N/A | 'transition to OK' | Fan Mismatch | 0x01 | ok
288 | Fan 1 Front Tach | Fan | N/A | RPM | N/A | Fan 1 Front Tach | 10240 RPM | ok
289 | Fan 2 Front Tach | Fan | N/A | RPM | N/A | Fan 2 Front Tach | 9984 RPM | ok
290 | Fan 3 Front Tach | Fan | N/A | RPM | N/A | Fan 3 Front Tach | 10112 RPM | ok
291 | Fan 4 Front Tach | Fan | N/A | RPM | N/A | Fan 4 Front Tach | 10240 RPM | ok
292 | Fan 5 Front Tach | Fan | N/A | RPM | N/A | Fan 5 Front Tach | 10368 RPM | ok
293 | Fan 6 Front Tach | Fan | N/A | RPM | N/A | Fan 6 Front Tach | 10112 RPM | ok
294 | Fan 7 Front Tach | Fan | N/A | RPM | N/A | Fan 7 Front Tach | 10240 RPM | ok
295 | Fan 8 Front Tach | Fan | N/A | RPM | N/A | Fan 8 Front Tach | 9984 RPM | ok
296 | Fan 1 Rear Tach | Fan | N/A | RPM | N/A | Fan 1 Rear Tach | 8424 RPM | ok
297 | Fan 2 Rear Tach | Fan | N/A | RPM | N/A | Fan 2 Rear Tach | 8316 RPM | ok
298 | Fan 3 Rear Tach | Fan | N/A | RPM | N/A | Fan 3 Rear Tach | 8640 RPM | ok
299 | Fan 4 Rear Tach | Fan | N/A | RPM | N/A | Fan 4 Rear Tach | 8640 RPM | ok
300 | Fan 5 Rear Tach | Fan | N/A | RPM | N/A | Fan 5 Rear Tach | 8424 RPM | ok
301 | Fan 6 Rear Tach | Fan | N/A | RPM | N/A | Fan 6 Rear Tach | 8316 RPM | ok
302 | Fan 7 Rear Tach | Fan | N/A | RPM | N/A | Fan 7 Rear Tach | 8532 RPM | ok
303 | Fan 8 Rear Tach | Fan | N/A | RPM | N/A | Fan 8 Rear Tach | 8532 RPM | ok
312 | Sys Power | Current | N/A | W | N/A | Sys Power | 224 Watts | ok
313 | CPU Power | Current | N/A | W | N/A | CPU Power | 128 Watts | ok
314 | Mem Power | Current | N/A | W | N/A | Mem Power | 6 Watts | ok
315 | Sys Fan Pwr | Current | N/A | W | N/A | Sys Fan Pwr | 13 Watts | ok
316 | Sys Utilization | Other Units Based Sensor | N/A | % | N/A | Sys Utilization | 0 percent | ok
317 | CPU Utilization | Other Units Based Sensor | N/A | % | N/A | CPU Utilization | 0 percent | ok
318 | Mem Utilization | Other Units Based Sensor | N/A | % | N/A | Mem Utilization | 0 percent | ok
319 | IO Utilization | Other Units Based Sensor | N/A | % | N/A | IO Utilization | 0 percent | ok
320 | ME Status | Management Subsystem Health | N/A | N/A | 'OK' | ME Status | 0x00 | ok
321 | PSU Mismatch | Power Unit | N/A | N/A | 'transition to OK' | PSU Mismatch | 0x01 | ok
322 | PS Heavy Load | Power Unit | N/A | N/A | 'State Deasserted' | PS Heavy Load | 0x01 | ok
323 | Power Resource | Power Unit | N/A | N/A | 'Non-redundant:Sufficient Resources from Redundant' | Power Resource | 0x08 | ok
324 | PSU 1 | Power Supply | N/A | N/A | 'Presence detected' | PSU 1 | 0x01 | ok
325 | PSU 1 Failure | Power Supply | N/A | N/A | 'transition to OK' | PSU 1 Failure | 0x01 | ok
326 | PSU 1 PF Failure | Power Supply | N/A | N/A | 'transition to OK' | PSU 1 PF Failure | 0x01 | ok
327 | PSU 1 IN Failure | Power Supply | N/A | N/A | 'transition to OK' | PSU 1 IN Failure | 0x01 | ok
328 | PSU 1 AC In Pwr | Current | N/A | W | N/A | PSU 1 AC In Pwr | 216 Watts | ok
329 | PSU 1 DC Out Pwr | Current | N/A | W | N/A | PSU 1 DC Out Pwr | 208 Watts | ok
330 | PSU 2 | Power Supply | N/A | N/A | 'Presence detected' 'Power Supply input lost (AC/DC)' 'Power Supply input out-of-range, but present' | PSU 2 | 0x29 | ok
331 | PSU 2 Failure | Power Supply | N/A | N/A | 'transition to OK' | PSU 2 Failure | 0x01 | ok
332 | PSU 2 PF Failure | Power Supply | N/A | N/A | 'transition to OK' | PSU 2 PF Failure | 0x01 | ok
333 | PSU 2 IN Failure | Power Supply | N/A | N/A | 'transition to Critical from less severe' | PSU 2 IN Failure | 0x04 | ok
334 | PSU 2 AC In Pwr | Current | N/A | W | N/A | PSU 2 AC In Pwr | 0 Watts | ok
335 | PSU 2 DC Out Pwr | Current | N/A | W | N/A | PSU 2 DC Out Pwr | 0 Watts | ok
337 | PCIe Riser 1 | Slot/Connector | N/A | N/A | 'Slot/Connector Device installed/attached' | PCIe Riser 1 | 0x04 | ok
339 | PCIe Riser 2 | Slot/Connector | N/A | N/A | 'OK' | PCIe Riser 2 | 0x00 | ok
340 | PCIe Riser 3 | Slot/Connector | N/A | N/A | 'OK' | PCIe Riser 3 | 0x00 | ok
341 | PCIe Riser 4 | Slot/Connector | N/A | N/A | 'OK' | PCIe Riser 4 | 0x00 | ok
342 | PCIe 1 | Slot/Connector | N/A | N/A | 'OK' | PCIe 1 | 0x00 | ok
343 | PCIe 1 OverTemp | Temperature | N/A | N/A | N/A | PCIe 1 OverTemp | 0x01 | ok
344 | PCIe 1 Temp | Temperature | N/A | C | N/A | PCIe 1 Temp | no reading | ns
345 | PCIe 2 | Slot/Connector | N/A | N/A | 'OK' | PCIe 2 | 0x00 | ok
346 | PCIe 2 OverTemp | Temperature | N/A | N/A | N/A | PCIe 2 OverTemp | 0x01 | ok
347 | PCIe 2 Temp | Temperature | N/A | C | N/A | PCIe 2 Temp | no reading | ns
348 | OCP | Slot/Connector | N/A | N/A | 'Slot/Connector Device installed/attached' | OCP | 0x04 | ok
349 | OCP OverTemp | Temperature | N/A | N/A | N/A | OCP OverTemp | 0x01 | ok
350 | OCP Temp | Temperature | N/A | C | N/A | OCP Temp | no reading | ns
351 | RAID Card 1 | Add In Card | N/A | N/A | 'OK' | RAID Card 1 | 0x00 | ok
352 | RAID Card 2 | Add In Card | N/A | N/A | 'OK' | RAID Card 2 | 0x00 | ok
353 | RAID Card 3 | Add In Card | N/A | N/A | 'OK' | RAID Card 3 | 0x00 | ok
354 | RAID Card 4 | Add In Card | N/A | N/A | 'OK' | RAID Card 4 | 0x00 | ok
355 | BP 1 Status | Slot/Connector | N/A | N/A | 'Slot/Connector Device installed/attached' | BP 1 Status | 0x04 | ok
356 | PCH Temp | Temperature | N/A | C | N/A | PCH Temp | 28 degrees C | ok
357 | Front Panel | Entity Presence | N/A | N/A | 'Entity Present' | Front Panel | 0x01 | ok
358 | TPM Module Prsnt | Entity Presence | N/A | N/A | 'OK' | TPM Module Prsnt | 0x00 | ok
359 | COMport Card | Cable/Interconnect | N/A | N/A | 'OK' | COMport Card | 0x00 | ok
360 | Front Video | Cable/Interconnect | N/A | N/A | 'OK' | Front Video | 0x00 | ok
361 | RAID Vol State | Drive Slot | N/A | N/A | 'OK' | RAID Vol State | 0x00 | ok
362 | Ext Drive | Drive Slot | N/A | N/A | 'OK' | Ext Drive | 0x00 | ok
363 | Ext Enclosure PS | Power Supply | N/A | N/A | 'OK' | Ext Enclosure PS | 0x00 | ok
364 | Drive Mismatch | Drive Slot | N/A | N/A | 'OK' | Drive Mismatch | 0x00 | ok
365 | SSD wear level | Drive Slot | N/A | N/A | 'OK' | SSD wear level | 0x00 | ok
366 | Drive 0 | Drive Slot | N/A | N/A | 'Drive Presence' | Drive 0 | 0x01 | ok
367 | Drive 1 | Drive Slot | N/A | N/A | 'Drive Presence' | Drive 1 | 0x01 | ok
368 | Drive 2 | Drive Slot | N/A | N/A | 'OK' | Drive 2 | 0x00 | ok
369 | Drive 3 | Drive Slot | N/A | N/A | 'OK' | Drive 3 | 0x00 | ok
370 | Drive 4 | Drive Slot | N/A | N/A | 'OK' | Drive 4 | 0x00 | ok
371 | Drive 5 | Drive Slot | N/A | N/A | 'OK' | Drive 5 | 0x00 | ok
372 | Drive 6 | Drive Slot | N/A | N/A | 'Drive Presence' | Drive 6 | 0x01 | ok
373 | Drive 7 | Drive Slot | N/A | N/A | 'Drive Presence' | Drive 7 | 0x01 | ok
374 | Drive 8 | Drive Slot | N/A | N/A | 'Drive Presence' | Drive 8 | 0x01 | ok
375 | Drive 9 | Drive Slot | N/A | N/A | 'Drive Presence' | Drive 9 | 0x01 | ok
376 | 7mm BP Status | Slot/Connector | N/A | N/A | 'Slot/Connector Device installed/attached' | 7mm BP Status | 0x04 | ok
377 | 7mm Drive 0 | Drive Slot | N/A | N/A | 'Drive Presence' | 7mm Drive 0 | 0x01 | ok
378 | 7mm Drive 1 | Drive Slot | N/A | N/A | 'Drive Presence' | 7mm Drive 1 | 0x01 | ok